                           
APPROVAL  SHEET（承認書）
Product:  Electret Condenser Microphone(駐機體電容式傳聲器)

	Model
	OFM6027L

	Customer name
	

	Sensitivity
	-56±2dB

	Test Condition
	4.5V  2.2KΩ


	DESIGNED BY
	

	REVISED BY
	

	APPROVED BY
	

	SUBMISSION DATE
	


CUSTOMER:
P/N of Customer:
	APPROVED BY
	APPROVED DATE

	
	


Electret Condenser Microphone Specification

Electrical Characteristics: 
Test Condition (Vs=4.5V RL=2.2KΩ Ta=20℃ R.H.=70%)
	Item
	Symbol
	Test Conditions
	Minimum
	Standard
	Maximum
	Unit

	Sensitivity
	S
	Pin=1 Pa , f=1kHz
	-58
	-56
	-54
	dB

	Output Impedance
	Zout
	Low  Impedance

	Directivity
	
	Unidirectional

	Current consumption
	I
	
	
	
	500
	μA

	S/N ratio (A)
	S/N (A)
	Pin=1 Pa , f=1kHz(A Curve)
	50
	
	
	dB

	Decreasing Voltage

Characteristic
	ΔS
	Pin=1 Pa , f=1kHz

Vs=2.0~1.5V
	
	
	-3
	dB

	Operating Voltage
	
	DC
	1.5
	4.5
	10
	V

	Charging Type
	Diaphragm


2、Frequency Response Curve:

[image: image1.png]



	Frequency(Hz)
	100
	200
	900
	1000
	1200
	2000
	4000
	5000
	8000

	Upper Limit(dB)
	3 
	3
	3
	0
	3
	5
	6
	6
	6

	Lower Limit(dB)
	-3
	-3
	-3 
	0 
	-3
	-3
	-3
	-3
	-5


4. Standard test circuit：

[image: image2.png]vee

Cround





RL=2.2kΩ (External resistor)    +Vcc=4.5V    C=1uF         

5、Mechanical Characteristics
	Dimension
	See appearance drawing

	Weight
	Less than 1.0g

	Operation Temperature
	-30℃ to +70℃

	Storage Temperature
	-40℃ to +85℃


6、 Appearance Drawing（Unit:mm）
[image: image3.png]$6.0+0.1

2.710.2

LT3

D s

RERIL32

S




7. Reliability Tests
	Vibration Test
	Vibration cycle of 10 to 50 Hz/min, for 2 hours, full Amplitude 1.52mm, in 3directions.

The sensitivity change within ±3dB relative to initial value.

	Drop Test
	To be no interference in operation after drop from 1.5 Meter height onto aconcrete surface，each time at three direction in state of packing, The sensitivity

change within ±3dB relative to initial value.

	Operating Life
	Subject samples to +70℃ for 1000 hours under full rated power.


7. Reliability Tests
	High Temperature Test
	The Microphone exposure at 70 ℃ for 200 hours, then measuring thesensitivity after depositing 2 hours of conditioning at room temperature.

The sensitivity change within ±3dB relative to initial value.

	Low Temperature Test
	The Microphone exposure at -30 ℃ for 200 hours, then measuring thesensitivity after depositing 2 hours of conditioning at room temperature.

The sensitivity change within ±3dB relative to initial value.

	Static Humidity
	Condition part at +25℃ for 1 hour. Then expose to +70℃ with 95% relativehumidity for 240 hours. Finally allow to dry at room ambient for 4 hours beforetaking final measurements, The sensitivity change within ±3dB relative toinitial value.

	Temperature Shock
	32 cycles of the following:

30 minutes at -40℃ followed by 30 minutes at 85℃ with a 20 second maximum transition time between temperature extremes, The sensitivity change within ±3dB relative to initial value. 32 cycles of the following:30 minutes at -40℃ followed by 30 


7. Reliability Tests
	
	minutes at 85℃ with a 20 second maximum transition time between temperature extremes, The sensitivity change within ±3dB relative to initial value.

	Lead Pull Test

(If applicable)
	Subject test leads to an increasing pull force (between the wire or lead and thetransducer) until destruction occurs. Record the point of destruction. Theminimum pull strength is 1Kg (2.2 pounds).

	Solder Heat Resistance 

(If applicable)
	Flux the terminations using a RMA solder flux ,then manually immerse theterminations into a 260±5℃ solder pot containing 63/37 solder for 10 to 11 seconds.


8. Packing Specification
     A、Small Packet  100pcs    65mmx65mmx5mm

        (小包裝盒   100只/盒)

B Paper Case    10000pcs   230mmx220mmx300mm

    (大包裝盒   60000只/盒)

8. Packing Specification
[image: image4.png]N

/N84 100pcs

Ty

600&

AA,#4560000pcs




